## Slide 1: Telepharmacy (Community) Pre-opening/Change in Layout Inspection: Digital Evidence
Telepharmacy Information |  | 
Teleparmacy Operating Name: |  | 
Pharmacy Manager: |  | 
Contact Information: | Phone: | Email:

## Slide 2: Tips to Avoid Delays (Read Appendix B of Pharmacy Licensure Guide)
Ensure that you have read and understand the requirement(s) for each item in the Pharmacy Pre-opening Inspection Report before producing digital evidence.
The digital evidence for each item must demonstrate that the item meets the legislative requirements. A summary of all physical items required to be shown in digital evidence can be found in Appendix B of the Pharmacy Licensure Guide (Community Pharmacy and Telepharmacy Only).
The digital evidence must provide sufficient context for the College to determine whether the requirements are met. Use the guidelines in Appendix B when producing digital evidence.
The digital evidence must be recently produced at the site and must not be the same digital evidence that was previously submitted for the same location or another location. If there are photos that cannot be taken at the site, please advise.
You may submit digital evidence in the form of pictures and video. When submitting digital evidence ensure the email does not exceed 25mb in size. You may also upload your digital evidence to a cloud service and share the link via email.

## Slide 3: Which sections to complete?
If you are applying for a new telepharmacy licence:
  Complete the entire report and submit supporting digital evidence for each item in the report.
If you are applying for a Change in Layout:
  Complete up to the end of the Security section only (i.e. you do not have to complete the entire report)
You must complete the Sterile Compounding section if your telepharmacy compounds sterile preparation regardless of type of application.
Please note you may add additional slides, text or objects (arrows, boxes) as needed to demonstrate the pharmacy meets the requirements.

## Slide 4: 1a. External view of the pharmacy (Street view including the external signage)

## Slide 5: 1b. Hours of operation sign

## Slide 6: 1c. Professional Products Area for Schedule 3 drugs

## Slide 7: 1d. Lock-and-leave barriers (if the premise is open for business while the pharmacy is closed) or N/A

## Slide 8: 1e. Signage at 25 feet from dispensary or N/A

## Slide 9: 1f. “Medication Information” sign or N/A

## Slide 10: 1g. Separate injection room for iOAT or N/A

## Slide 11: 2a. Dispensary area

## Slide 12: 2b. Gate/door at the entrance into the dispensary

## Slide 13: 2c. Placeholder for College licence

## Slide 14: 2d. Professional Service Area for Schedule 2 drugs

## Slide 15: 2e. Patient consultation area

## Slide 16: 2f. Dispensing counter and service counter

## Slide 17: 2g. Computer terminals for prescription processing

## Slide 18: 2h. Shelving

## Slide 19: 2i. Double stainless steel sink

## Slide 20: 3a. Locked metal safe OR safe declaration

## Slide 21: 3b. Security camera system AND surveillance signage

## Slide 22: 3c. Motion sensors

## Slide 23: 3d. Monitored alarm or N/A

## Slide 24: 3e. Physical barriers or N/A

## Slide 25: 3f. Locked area for sharps containers (for iOAT) or N/A

## Slide 26: 4a. Equipment (general)

## Slide 27: 4b. Equipment (electronic recordkeeping) or N/A
1. Device (e.g. Scanner)
2. Backed Up Records Storage Area

## Slide 28: 4c. Prescription filing supplies

## Slide 29: 4d. Equipment (cold chain)
1. Refrigerator Thermometer
2. Digital Thermometer/Temperature Monitoring System

## Slide 30: 4d. Equipment (cold chain)
3. Temperature Log/Record

## Slide 31: 4e. Equipment (methadone) or N/A

## Slide 32: 4f. Equipment & supplies (iOAT) or N/A

## Slide 33: 4g. References (CPBC)
1. Pharmacy Legislation
2. Professional Practice Policies

## Slide 34: 4g. References (CPBC)
3.Readlinks

## Slide 35: 4h. References (general)

## Slide 36: 4i. References (if applicable) or N/A

## Slide 37: 5a. Prescription hardcopy (i.e. the label/paper attached to the original prescription, which contains prescription information generated after transmitting to PharmaNet)

## Slide 38: 5b. Marked prescription (sample)

## Slide 39: 6a. Shredder OR contract with a document destruction company

## Slide 40: 6b. Offsite storage contract or N/A

## Slide 41: 7a. Drug receiving area

## Slide 42: 7b. Storage area for non-usable and expired drugs

## Slide 43: 8a. Prescription product label
1. Single-entity product
2. Multiple-entity product

## Slide 44: 8b. Filling supplies (e.g. vials and bottles including caps)

## Slide 45: 9a. Staff identification (e.g. name tag/badge)

## Slide 46: 9b. Policy and Procedure Manual – all pages (or email PDF separately)

## Slide 47: 10a. Tool/ technology enabling direct supervision on dispensary activities

## Slide 48: 10b. Tool/ technology used for transmitting prescription and personal health information between sites

## Slide 49: 10c. Tool/ technology used for processing prescriptions at the central pharmacy for prescriptions received at the telepharmacy

## Slide 50: 10d. Tool/ technology enabling direct supervision on product final check

## Slide 51: 10e. Tool/ technology enabling direct pharmacist/patient consultation

## Slide 52: C1a. Anteroom (non-hazardous only): functional parameters or N/A
Provide photo(s) of the anteroom for non-hazardous sterile compounding and email a pdf copy of the testing and certification report(s) to show that the room meets the functional parameters required.

## Slide 53: C1a. Anteroom (hazardous only): functional parameters or N/A
Provide photo(s) of the anteroom for hazardous sterile compounding and email a pdf copy of the testing and certification report(s) to show that the room meets the functional parameters required.

## Slide 54: C1a. Anteroom (shared): functional parameters or N/A
Provide photo(s) of the shared anteroom for non-hazardous and hazardous sterile compounding and email a pdf copy of the testing and certification report(s) to show that the room meets the functional parameters required.

## Slide 55: C1b. Room temperature control/monitoring device
Photo(s) of room temperature control and/or monitoring device
  Photo must provide context showing where it is located

## Slide 56: C1c. Demarcation line
Photo(s) of each demarcation line taken from a distance
Photo must provide context showing where each demarcation line is located

## Slide 57: C2a. Anteroom equipment & supplies: gowning & garbing
Required equipment:
1. Personal Protective Equipment (PPE) shoe covers hair covers beard covers (if applicable) surgical masks non-shedding protective gowns non-powdered sterile gloves dedicated apparel (e.g. Uniform/clean room scrubs)
2. Mirror, or other means to verify garbing
Photo(s) of equipment and supplies
May be taken together or in separate photos

## Slide 58: C2b. Anteroom equipment & supplies: hand hygiene/cleansing
Required equipment:
Hands-free sink Soap dispenser Nail picks Alcohol-based hand rub (ABHR) Hand-drying system: ☐ Lint free towels in a dispenser OR ☐ air hand dryer designed for use in controlled areas Clock Eyewash station (in/nearby anteroom)
Photo(s) of equipment and supplies
May be taken together or in separate photos

## Slide 59: C2b. Anteroom equipment & supplies: cleaning
Required equipment:
Cleaning equipment and supplies Disinfectant Germicidal detergent Sterile disinfectant (70% isopropyl alcohol), AND Sporicidal agent Waste container and plastic bags Material Safety Data Sheets
Photo(s) of equipment and supplies
May be taken together or in separate photos

## Slide 60: C2d. Anteroom equipment & supplies: cold chain
Photo(s) of refrigerator (and freezer) taken from a distance
Photo must provide context showing where the fridge is located in the anteroom
Photo(s) of the inside of the refrigerator
A standard “bar” fridge (combination fridge/freezer with one exterior door) is not acceptable as it does not maintain even temperatures
Required equipment:
Refrigerator
Freezer (or N/A)
Digital thermometer and temperature log, OR continuous temperature recorder

## Slide 61: C2d. Anteroom equipment & supplies: cold chain (continued)
Photo(s) of digital thermometer and temperature log, OR continuous temperature recorder

## Slide 62: C2e. Anteroom equipment & supplies: transferring products
Required equipment:
Pass-through OR N/A
Cart OR N/A
Bin or tray
Photo(s) of equipment and supplies
May be taken together or in separate photos

## Slide 63: C3a. Clean room (non-hazardous only): functional parameters or N/A
Provide photo(s) of the clean room for non-hazardous sterile compounding and email a pdf copy of the testing and certification report(s) to show that the room meets the functional parameters required.

## Slide 64: C3b. Clean room (hazardous only): functional parameters or N/A
Provide photo(s) of the clean room for hazardous sterile compounding and email a pdf copy of the testing and certification report(s) to show that the room meets the functional parameters required.

## Slide 65: C3c. Clean room PEC (non-hazardous): LAFW and/or CAI or N/A
Photo(s) of each PEC taken from a distance
Photo must provide context showing where the PEC is located in the clean room
Provide photo(s) of each page of the testing and certification report(s) or email pdf copy

## Slide 66: C3d. Clean room PEC (hazardous): Class II or III BSC, and/or CACI or N/A
Photo(s) of each PEC taken from a distance
Photo must provide context showing where the PEC is located in the clean room
Provide photo(s) of each page of the testing and certification report(s) or email pdf copy

## Slide 67: C3e. Clean room: cold chain equipment or N/A
Photo(s) of refrigerator (and freezer) taken from a distance
Photo must provide context showing where the fridge is located in the clean room
Photo(s) of the inside of the refrigerator
A standard “bar” fridge (combination fridge/freezer with one exterior door) is not acceptable as it does not maintain even temperatures
Required equipment:
Refrigerator
Freezer (or N/A)
Digital thermometer and temperature log, OR continuous temperature recorder

## Slide 68: C3e. Clean room: cold chain equipment (continued) or N/A
Photo(s) of digital thermometer and temperature log, OR continuous temperature recorder

## Slide 69: C4a. Segregated area PEC (non-hazardous): LAFW and/or CAI or N/A
Photo(s) of each PEC taken from a distance
Photo must provide context showing where the PEC is located in the segregated area
Provide photo(s) of each page of the testing and certification report(s) or email pdf copy

## Slide 70: C4b. Segregated area PEC (hazardous): Class II or III BSC, and/or CACI or N/A
Photo(s) of each PEC taken from a distance
Photo must provide context showing where the PEC is located in the segregated area
Provide photo(s) of each page of the testing and certification report(s) or email pdf copy

## Slide 71: C4c. Storage area for hazardous drugs (dedicated room and/or clean room) or N/A
Photo must provide context showing where the area is within a dedicated room and/or clean room.
If dedicated room – provide photo(s) of each page of the testing and certification report(s) or email pdf copy

## Slide 72: C4d. Storage area for cleaning equipment and supplies
Photo(s) of cabinet for storing equipment, refills, and cleaning products used for cleaning and disinfecting
Photo must provide context showing where the cabinet is located

## Slide 73: C4e. Storage area: cold chain equipment or N/A
Photo(s) of refrigerator (and freezer) taken from a distance
Photo must provide context showing where the fridge is within the dispensary
Photo(s) of the inside of the refrigerator
A standard “bar” fridge (combination fridge/freezer with one exterior door) is not acceptable as it does not maintain even temperatures
Required equipment:
Refrigerator
Freezer (or N/A)
Digital thermometer and temperature log, OR continuous temperature recorder

## Slide 74: C4e. Storage area: cold chain equipment (continued) or N/A
Photo(s) of digital thermometer and temperature log, OR continuous temperature recorder

## Slide 75: C4f. Incubator or report from certified external laboratory
Photo(s) of incubator on-site, or each page of the lab report or email pdf copy of report

## Slide 76: C4g. Signage
Photo(s) of signage (from a distance)
  Provide context as to where the sign is posted

## Slide 77: C5a. Hazardous sterile compounding – additional supplies: PPE
Required PPE:
Gloves (D-6978-05 ASTM)
Gowns
Masks (N95 or N100, NIOSH-approved)
Goggles and face shields, OR full facepiece respirators
Photo(s) of equipment and supplies
May be taken together or in separate photos

## Slide 78: C5b. Hazardous sterile compounding – additional supplies: spill kit including chemical cartridge respirator with pre-filter
Photo(s) of equipment and supplies
May be taken together or in separate photos

## Slide 79: C5c. Hazardous sterile compounding – additional supplies: cytotoxic waste container
Photo(s) of equipment and supplies
May be taken together or in separate photos

## Slide 80: C5d. Hazardous sterile compounding – additional supplies: Surface decontamination and deactivation agents
Photo(s) of equipment and supplies
May be taken together or in separate photos

## Slide 81: C6a. Compounded product label
HPA Bylaws Schedule F Part 1 s.9(2)
The label for all prescription drugs must include:
Name, address, and telephone number of the pharmacy
Prescription number and dispensing date
Full name of the patient
Name of the practitioner
Quantity and strength of the drug
Practitioner’s directions for use
Any other information required by good pharmacy practice
HPA Bylaws Schedule F Part 1 s.9(3)
For a single-entity product, the label must include:
Generic name, and
At least one of: The brand name The manufacturer’s name, or The drug identification number (DIN).
Photo(s) of what information is included on the label
  You may run a dummy prescription
  Must be generated on site at the pharmacy

## Slide 82: C6b. Compounded sterile preparation log
Photo(s) of template(s) or email pdf copy of template(s)
Individual or N/A
Batch or N/A

## Slide 83: C6b. Policies and procedures for compounding
Photo(s) of checklist in Appendix 1 of NAPRA documents (Non-Hazardous and/or Hazardous), or email pdf copy
Non-Hazardous Sterile or N/A
Hazardous Sterile or N/A